## Sheet1
Scandex Textile Ind. Ltd.
Uttar Gazaria, Kaliakoir, Gazipur
Modbus Meter Configuration Details
No | Building | Floor | Modbus Divice | Ip Adreess | Slave ID | Meter Type | Meter Model | Serial No | Purpose
1 | Utility _01 | Ground | Modbus(Gateway)_04 | 192.168.161.52 | 6 | Energy Meter | Secure Elite 440 | X1364832 | Finishing
2 |  |  |  |  | 7 | Energy Meter | Secure Elite 440 | X1364830 | Knitting
3 |  |  | Modbus(Gateway)_05 | 192.168.161.53 | 8 | Energy Meter | Schneider PM5330 | 540090113924 | Knit Dying
4 | Utility _02 | Ground | Modbus(Gateway)_06 | 192.168.161.54 | 1 | Energy Meter | Schneider PM5330 | 540090113918 | Dryer & Soft Winding
5 |  |  |  |  | 2 | Energy Meter | Schneider PM5330 | 540090115876 | Garments & Hard winding
6 |  |  |  |  | 3 | Energy Meter | Schneider PM5330 | 540090113912 | Yarn Dying
7 |  |  | Modbus(Gateway)_07 | 192.168.161.55 | 4 | Energy Meter | Secure Elite 440 | X1364853 | WTP
8 |  |  |  |  | 5 | Energy Meter | Secure Elite 440 | X1390348 | CPB & Knitting
9
10
11 | Utility _01 | Ground | Modbus(Gateway)_01 | 192.168.161.56 | 11 | Flow Meter | Techange FSC 100HR | 22053601 | Domestic Water Intake-1
12 |  |  |  |  | 12 | Flow Meter | Techange FSC 100HR | 22053604 | Domestic Water Intake-2
13 |  |  |  |  | 13 | Flow Meter | Techange FSC 100HR | 22053614 | Boilar Intake-1
14 |  |  |  |  | 14 | Flow Meter | Techange FSC 100HR | 25114523 | Generator Cooling-1
15 | Utility _02 | Ground | Modbus(Gateway)_02 | 192.168.161.57 | 15 | Flow Meter | Techange FSC 100HR | 22053625 | Generator Cooling-2
16 |  | 2nd |  |  | 16 | Flow Meter | Techange FSC 100HR | 22053618 | Boilar Intake-2
17 | YD_Building | Ground | Modbus(Gateway)_03 | 192.168.161.58 | 17 | Flow Meter | EMS YI2000-M | 22050467 | Rain Water Harvest